## Slide 1: Title slide + image
LiDAR-Enhanced Closed Loop Wake Mixing Control
David Chen

## Slide 2
Introduction
Feedback --- LiDAR
Research Question
Control Design
Current Progress
Future Work
Q & A
Table of Content

## Slide 3: Chapter | dark mode
Introduction
Wake, WFFC, Helix
00

## Slide 4: Introduction --- Wake Effect
Effect on downstream WT:
Less power production
Increase structural loads
20 – 45% Loss of Energy
Notes: The downstream turbine encounters a significantly reduced free-stream velocity compared to the upstream turbine, leading to less energy being available in the flow.

## Slide 5: Introduction --- Wind Farm Flow Control
    Axial Induction Control
    Wake Steering
    Wake Mixing

## Slide 6: Introduction --- Wake Mixing
Facilitate mixing of free-ambient air and wake for wake recovery
Notes: The arrow stands for the thrust force
Facilitate mixing of free-ambient air and wake for wake recovery

## Slide 7: Introduction --- Helix Approach
Notes: The wake mixing control strategy is developed to enhance the mixing of the turbine’s wake with ambient free-stream velocity air. This enhanced mixing accelerates the energy recovery of the wake more effectively than would occur through natural wake processes and recovery mechanisms.
Pulse: varying thrust coefficient sinusoidal ----> Load ----> More consistent
Helix: Individual Pitch Control

## Slide 8: Helix Approach --- MBC Transform
Rotating Frame  Non-rotating Frame
Notes: MBC transform map the signals from rotating frame to the non-rotating one.
In this fixed frame, the individual pitch commands can be computed as decoupled collective, tilt, and yaw pitch commands respectively, allowing simple SISO control loops instead of MIMO

## Slide 9: Helix Approach --- Inverse MBC Transform
Non-rotating Frame  Rotating Frame
Notes: By using the inverse MBC, we just need to give the tilt and yaw moment, then the blade pitch signals are acquired.

## Slide 10: Helix Approach --- Transform
MBC
Inverse MBC
Notes: MBC transform map the signals from rotating frame to the non-rotating one.
In this fixed frame, the individual pitch commands can be computed as decoupled collective, tilt, and yaw pitch commands respectively, allowing simple SISO control loops instead of MIMO

## Slide 11: Helix --- Block Diagram
Sinusoidal signals
Frequency
Amplitude
Phase
Notes: Beta(tilt) and Beta(yaw) for rotor disk, based on the phase different of tilt and yaw, the helix is clockwise or counterclockwise

## Slide 12: Helix --- My Question
Open-Loop Control:
No feedback from output
Can we closed-loop control the helix based on flow information?
Notes: Disturbance Rejection
Accuracy and Precision
Input-based control vs. Output-based control: Directly monitors and adjusts the system outputs.

## Slide 13: Chapter | dark mode
Feedback
LiDAR
01

## Slide 14: Feedback --- LiDAR
Notes: To close the loop, one of the most important things is to get the feedback --- LiDAR

## Slide 15: Feedback --- LiDAR Doppler Effect

## Slide 16: Feedback --- LiDAR Application WFFC
Notes: Wake steering
Bring the question: can we use this setup for controlling the helix?

## Slide 17: Feedback --- Simulation Setup
Continuous Wave LiDAR
Notes: Downwind facing CW LIDAR
Measuring 1D (rotor disk) position
Information of the whole plant can be acquired

## Slide 18: Feedback --- Practical Tool
Notes: Q-blade
MATLAB
NREL5MW

## Slide 19: Chapter | dark mode
Research Question
When pieces become a full puzzle
02
Notes: First look at what LiDAR brings

## Slide 20: RQ --- A Look into Data
U = 10 m/s
CCW
Str = 0.3
Amplitude = 3
Notes: Q-blade doesn’t have any LiDAR functionality, so I spent around a week time to implement the LiDAR functionality and optimize it so that it’s fast enough (2 days --> 10 mins --> 2 mins )
Wake center is what I am aiming at
1. obvious
2. accessible in real-time

## Slide 21: RQ --- Questions
    How to integrate LiDAR and the helix approach for closed-loop wake mixing control for wind farms?
    Which LiDAR configuration to use?
    What feature in the wake should be controlled?
    How to design the control loop to rectify the helix?
    Potential for next step?

## Slide 22: Chapter | dark mode
Control Design
A thing I am supposed to be good at
03

## Slide 23: Control Design --- Helix Center
Notes: CCW, coordinate of helix center, two periodic signal

## Slide 24: Control Design --- New Transform
Rotating Frame  Non-Rotating Frame
fr+fe  fe

## Slide 25: Control Design --- New Transform
Rotating Frame  Non-Rotating Frame  Helix Frame
fr+fe  fe
fr+fe  fe  0P

## Slide 26: Control Design --- New Transform
Rotating Frame  Non-Rotating Frame  Helix Frame
fr+fe  fe
fr+fe  fe  0P

## Slide 27: Control Design --- New Transform
Fixed Frame
Helix Frame

## Slide 28: Control Design --- Relationship Map
Fixed Frame
Helix Frame
FF beta
HF beta
FF center
HF center
Notes: There are four different combination that can be controlled
We explore the relation between input and output by first open-loop control the whole system

## Slide 29: Control Design --- Lookback
    How to integrate LiDAR and the helix approach for closed-loop wake mixing control for wind farms?
    Which LiDAR configuration to use? √
    What feature in the wake should be controlled? √
    How to design the control loop to rectify the helix?
    Potential for next step?
Notes: So here, we answered the first question, what configuration of LiDAR to be used.

## Slide 30
    √
    √
Control Design --- Overall Design
Notes: Dead-time Delay

## Slide 31: Control Design --- Analysis
    LiDAR Data Processing Pipeline
      Calculate Helix Center
      Coordinate Transform
      Filter
    Control
      Handle Output Delay

## Slide 32
Control Design --- Deadtime Delay
Notes: Dead-time Delay

## Slide 33: Control Design --- Smith Predictor

## Slide 34: Control Design --- Smith Predictor
A perfect model
A delayed model
A filter
MIMO/SISO controller(s)
Close the loop in real-time

## Slide 35: Chapter | dark mode
Current Progress
To prove that I’m not wasting time
04

## Slide 36: Current Progress --- LiDAR Sampling
Notes: Fast computation, able to run real-time, use the GPU

## Slide 37: Current Progress --- LiDAR Data Processing
Start
Sim Over
LPF
Detrend
Coordinate Transfer
Over
LiDAR sampling
Helix Center Calculation
Y
N

## Slide 38: Current Progress --- Internal Model IDE

## Slide 39: Current Progress --- Internal Model IDE
Notes: Decouple

## Slide 40: Current Progress --- Internal Model IDE
    Result VAF
    Analysis
      Linearity!
      Controllable & Observable
      Steady-state decouple thanks to Azimuth Offset
 | Train Data | Test Data
Z | 96.5054 | 96.0452
Y | 96.5626 | 95.5183

## Slide 41: Current Progress --- Internal Model IDE
Notes: Decouple

## Slide 42: Current Progress --- Internal Model IDE
Notes: Decouple

## Slide 43: Current Progress --- Delayed Model
Notes: Decouple

## Slide 44: Chapter | dark mode
Future Work & Challenges
Journey ahead
05

## Slide 45: Challenge & FW --- Internal Model IDE
    Result VAF
    Analysis
      Linearity!
      Stability!
      Steady-state decouple thanks to Azimuth Offset
      High frequency does not capture well
 | Train Data | Test Data
Z | 96.5054 | 96.0452
Y | 96.5626 | 95.5183

## Slide 46: Future Work
    Close the loop
    Controller design based on internal model (Loop shaping
    Gust and Turbulence
    Open to suggestion :)

## Slide 47: Thanks for listening :)

## Slide 48: Chapter | dark mode
Q&A
Bring it in
06

## Slide 49: HF theta – HF center
Notes: First the magnitude of beta tilt and beta yaw

## Slide 50: HF theta – HF center
Notes: First the magnitude of beta tilt and beta yaw

## Slide 51: HF theta – HF center
Notes: First the magnitude of beta tilt and beta yaw

## Slide 52: HF theta – HF center
Notes: First the magnitude of beta tilt and beta yaw

## Slide 53: Feedback --- LiDAR
Notes: LiDAR is placed in the perfect location --- 1.86D for IEA15MW so that the diameter of the ring is the same as D

## Slide 55: LiDAR Choosing
    Trade off between practicality and quality --- Modified ZX-TM LiDAR
    Continuous Wave LiDAR
    Measure Distance: 10 – 720 m
    Half-cone angle: -
    Entire rotor disk

## Slide 57: New Transform

## Slide 58: System IDE
Notes: Dead-time Delay

## Slide 59: Deadtime Delay

## Slide 60: Smith Predictor
Notes: Equations of internal model and delay.
The internal model predict the reaction of the wake to the demanded yaw angle. The first equation is the relationship of yaw, and then the second one is for the wake.

## Slide 61: Bode diagram System IDE

## Slide 62: Comparison of outputs

## Slide 63: Model Precision

## Slide 64: Comparison of outputs
Notes: Y is the dominate one compared to Yc